# “Storage manager” program for the purposes of electronics testing labs and RnD centers.

Abstract: All parts location must be know at anytime. Movement of parts shall be tracked and recorded till its EOL.

## Types

Different items must to be tracked throughout their design and validation life cycle, e.g.:

- Automotive electronics test samples – clusters, displays, body controllers, others.

- Mechanical fixtures – fixtures for vibration and mechanical shock tests.

- Climatic fixtures – fixtures for climatic, temperature, salt, dust, water tests.

- Machine spare parts – OEM spare parts with model, type, variant, characteristics.

- Consumables – chemicals, liquids, solids with an expiry date, lot number, etc.

- Miscellaneous parts – non-specific parts with fewer attributes.

## Definitions

- The Automotive electronics test samples have the following attributes:

| No. | Attribute | M (Mandatory)/O (Optional) | Example |
| --- | --- | --- | --- |
| 1 | OEM | M | BMW, RSA, MB, STLA |
| 2 | Product name | M | BR206 CID, BR223m |
| 3 | Product type | M | Cluster, CID, HUD, BDC, Infotainment |
| 4 | OEM part number | M | A 01 01 205, 142-235-523-1 |
| 5 | Serial number | O |  |
| 6 | Lab ID number | M | TR.EL26.012345.1.1 |
| 7 | Development Phase | O | Pre-DV, DV, PV |
| 8 | Plant location | O | Palmela, Bir El Bay, Namestovo |
| 9 | Test request number | M | TR.EL26.012345 |
| 10 | Requester | O | Name or Company ID |
| 11 | Comment | O | Free text |

Note: Since each part must be tracked individually, bulk quantity is not required.

- The Fixtures (Mechanical, Climatic, Water, Dust) have the following attributes:

| No. | Attribute | M (Mandatory)/O (Optional) | Example |
| --- | --- | --- | --- |
| 1 | Type | M | Vibration, Mechanical shock, Climatic, Dust, Salt, Water, Other. |
| 2 | Product name | M | BR206 CID, BR223m |
| 3 | Lab ID number | M | Numeric identifier: 432, 1236, 3256 |
| 4 | Picture | O | A picture of the fixture for easy visual identification |
| 5 | Comment | O | Free text |

Note: Type can have multple choices as one fixture can serve different purposes, e.g. a climatic fixture can be used in dust and water tests.

- The Machine spare parts have the following attributes:

| No. | Attribute | M (Mandatory)/O (Optional) | Example |
| --- | --- | --- | --- |
| 1 | Manufacturer | M | ETS Solutions, Danfoss, Long Hui |
| 2 | Model | M | OP-31, X-522 |
| 3 | Type | M | Compressor, Valve, Fan, etc. |
| 4 | Variant | O | Single phase, 3-phase, 7 bar |
| 5 | For machine(s) | O | TH710-W5, TS130, etc. |
| 6 | Comment | O | Free text |

- The consumables have the following attributes:

| No. | Attribute | M (Mandatory)/O (Optional) | Example |
| --- | --- | --- | --- |
| 1 | Manufacturer | M | Valerus, Hydratek, etc. |
| 2 | Model | M |  |
| 3 | Type | M | Arizona A2 dust, 7 ph solution, NaHCO3, NaCl, Mixed-bed resin, etc. |
| 4 | Shelf life | O | 12 months, 24 months |
| 5 | Comment | O | Free text |

- Storage location needs to be organized in the following hierarchy from top to bottom:

| No. |  |  |  |
| --- | --- | --- | --- |
| 1 | Site |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |

- Site – the city in which the lab storage and RnD storage is, e.g. Paris, Munich, Sofia.

- Building – the building in which the storage areas are, e.g. Main building, Lab building, etc.

- Storage area within each building – Storage areas with a letter code, e.g. A, B, C, etc.

- Storage location under each letter code, this is the row number, shelf number, level number. A-01-02-5 means: storage area A, row 01, shelf number 02, level 5.

- Notes: The Site and the building create the name space. For example, you can have a storage area A in each building, resulting in the same address A-01-02-5. This must be properly handled by the software and the database.

- External locations – external labs, RnD center, etc. When a part is shipped to it, it is a temporary exit. There must be details of the external locations – contact person, city, address, etc.

The parts need to be organized in the following way:

- A part can be in a single box.

- 2 or more parts of the same part number can be in a single box.

- Mixture of parts: One or more than one product parts can be grouped with other parts in the same box to optimize storage space. Example: 2 Porsche clusters and 1 VW cluster in the same box.

- Multiple parts of the same part number can be in multiple boxes due to their quantity. Example: 3 parts per box, 21 parts received = 7 boxes.

Note: the boxes need to have the proper labeling with bar codes or QR codes and human readable text for quick identification.

The Fixtures need to be organized in the following way:

- A fixture may be a standalone fixture, no box or container.

- A fixture may be in a single box or container.

- 2 or more fixtures can be in a single box.

- Fixtures for different products and fixture types can be grouped in the same box or container to optimize storage space.

## Warehouse operations:

- Receipt – item(s) enters a warehouse. The type, the date, the owner and the person performing the operation are recorded in the item’s history.

- Exit – item(s) leaves temporarily the warehouse. The item is expected to return.

- Permanent Exit – item(s) is/are no longer needed and will be scrapped. The past item information shall be preserved. No loss of info should occur, the item is marked as scrapped with a date and person performing the action.

- Move between storage locations/picking zones – The movement can be in any direction: between containers, between shelf levels, between shelves, between storage areas and between sites.

## The software must be able to:

- Maintain a user information database - create, update, remove (remove will mark as non-active, never delete, to keep the history!) users. The user information is stored in the database. Users shall have 3 levels: admin, user, viewer. Admin can do all (configuration, add/modify users, fix user errors in the DB, etc.). Users can perform regular operations such as receipt, move, scrap, print labels, etc.. Viewers can only query the DB without being able to perform any other operation.

- Track every operation in the warehouse with a timestamp. Example: On part receipt, all data must be recorded in the database: the person receiving them, in which facility they are received and when. When a part is scrapped, it must become immutable in the front-end. Only the system admin shall be able to make modifications.

- Work with bar codes, QR codes, dot matrix codes.

- Print labels for the parts, the fixtures and the storage locations - shell/level addresses, readable by 2D (QR codes, dot matrix codes) or 1D scanners (suggest the type of bar code to be used – code39 or code 128?).

## Database requirements

- Must be available for Windows and Linux (Linux being the preferred option).

- Must be able to handle hundreds of thousands of records without hitting a limit (e.g, MS SQL Express 2025 is limited at 50 GB per DB)

## UI requirements

- On a computer it shall be web-based. Must run on Firefox, Chrome and Edge.

- On an Android terminal equipped with a 2D code scanner

## User management

- Authentication: Users must be authenticated with their active directory credentials. This is done using LDAP protocol.

- Authorization: Once a user is successfully authenticated, there shall be 3 levels:

  - Admins – can perform all operations on the database – configuration, update, user management, etc.

  - Users – can perform warehouse operations.

  - Visitors – can view only.

## Requirements

| Category/Req number | Description | Implementation status |
| --- | --- | --- |